## Notice
APPLICABILITE DU CALCULATEUR: Ce calculateur est utilisable pour le calcul des concentrations moyennes intégrées dans les eaux de surface continentales et littorales , pour les couples support/substances référencés dans l'onglet REF _Coef diffusion. Cette liste sera incrémentée au fur et à mesure des mises à jour par AQUAREF. L'utilisateur devra se conformer aux préconisations présentées dans les guides AQUAREF associés. Des compléments d'information, notamment concernant les formules de calcul utilisées dans cet utilitaire sont détaillés dans les supports de formation et disponibles sur le site AQUAREF. Les propositions techniques présentées dans ce document ne préjugent pas de l’applicabilité réglementaire de ces outils qui doit être vérifiée dans les textes concernés.
Dans l'ensemble du document:
Les cellules à compléter sont identifiées en gris
Les cellules calculées, verrouillées, sont identifiées en vert
L'onglet Descriptif_Echantillonneur contient les éléments spécifiques des campagnes de déploiement, indépendamment des paramètres suivis.
La température est à renseigner (température moyenne sur la durée d'exposition, soit la moyenne entre température au dépôt et température au retrait)
L'onglet Descriptif_Substances contient les éléments spécifiques des paramètres mesurés
L'onglet REF _Coef diffusion, verrouillé, contient les coefficients de diffusion validés à ce jour par AQUAREF
L'identification des paramètres se fait via leur code SANDRE pour éviter toute erreur
Différents messages d'alerte ont été créés:
Colonne N, si le support DGT utilisé n'est pas celui préconisé, l'alerte support non adapté apparait, le calcul de la concentration moyenne intégrée n'est pas réalisable ( code remarque 0)

## Descriptif_echantillonneur
Référence échantillon | Support | Date de déploiement | Durée de déploiement | Unité | Température moyenne | Unité
TUTU | DGT-OXFE-OP | 2017-10-10 10:20 | 14 | jour | 23 | degré C
T10-DGT-CH-CLA-2 | DGT-CHELEX-OP | 2017-10-10 10:20 | 13 | jour | 11 | degré C
T22-DGT-CH-CLA-1 | DGT-OXFE-OP | 2018-03-29 13:10 | 14 | jour | 11 | degré C
T22-DGT-CH-CLA-2 | DGT-CHELEX-OP | 2018-03-29 13:10 | 13.0347 | jour | 12 | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C
|  |  |  | jour |  | degré C

## Descriptif_Substances
Référence échantillon | Code paramètre | Paramètre | Support | support RECOMMANDE | Masse Paramètre | Unité masse | Code remarque masse paramètre | Durée ( jour) | durée d'exposition (s) | Coef diffusion (cm2/s) à 25°C | Température | Coef diffusion à T (cm2/s) | Concentration moyenne intégrée EAU | Unité | Code remarque Concentration moyenne intégrée EAU
TUTU | 1379 | Cobalt | DGT-OXFE-OP | DGT-CHELEX-OP | 22 | µg | 1 | 14 | 1209600 | 5.94e-06 | 23 | 5.625e-06 | support non adapté | µg/L | 0
TUTU | 1369 | Arsenic | DGT-OXFE-OP | DGT-OXFE-OP | 45 | µg | 10 | 14 | 1209600 | 5.26e-06 | 23 | 4.9811e-06 | 0.21883 | µg/L | 10
T22-DGT-CH-CLA-2 | 1370 | Aluminium | DGT-CHELEX-OP | DGT-CHELEX-OP | 56 | µg | 10 | 13.0347 | 1126200.005 | 4.75e-06 | 12 | 3.2455e-06 | 0.44891 | µg/L | 10
T22-DGT-CH-CLA-2 | 1379 | Cobalt | DGT-CHELEX-OP | DGT-CHELEX-OP | 34 | µg | 10 | 13.0347 | 1126200.005 | 5.94e-06 | 12 | 4.0585e-06 | 0.21795 | µg/L | 10
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L | 0
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L | 0
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L | 0
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L
|  | #N/A | #N/A | #N/A |  | µg |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | µg/L

## REF _Coef diffusion
code SANDRE | Paramètre | Coefficient de Diffusion à 25°C, en cm².s-1 | DGT | support | CODE SANDRE associé
1370 | Aluminium | 4.75e-06 | DGT-CHELEX-OP | DGT-CHELEX-OP | 89
1376 | Antimoine | 5.46e-06 | DGT-OXFE-OP | DGT-OXFE-OP | 90
1369 | Arsenic | 5.26e-06 | DGT-OXFE-OP
1396 | Baryum | 4.7e-06 | DGT-CHELEX-OP
1388 | Cadmium | 6.09e-06 | DGT-CHELEX-OP
1379 | Cobalt | 5.94e-06 | DGT-CHELEX-OP
1392 | Cuivre | 6.23e-06 | DGT-CHELEX-OP
1393 | Fer | 6.11e-06 | DGT-CHELEX-OP
1394 | Manganèse | 5.85e-06 | DGT-CHELEX-OP
1386 | Nickel | 5.77e-06 | DGT-CHELEX-OP
1382 | Plomb | 8.03e-06 | DGT-CHELEX-OP
1385 | Sélénium | 5.83e-06 | DGT-OXFE-OP
1384 | Vanadium | 6.66e-06 | DGT-OXFE-OP
1383 | Zinc | 6.08e-06 | DGT-CHELEX-OP